## Break Down
Trade | BOQ | CATEGORY / PACKAGE | Parent Task | Task Number | Budget Catergory | Description | Unit | Currency | Budget Amount
ELECTRICAL WORKS | Main BOQ | GIS - 220KV | 1.Main | 1.Main | # | 220 kV GIS switchgear | EA | USD | 2104909.91
ELECTRICAL WORKS | Main BOQ | GIS - 220KV | 1.Main | 1.Main.1 | MATERIAL | Supply 220 kV GIS switchgear |  | USD | 2104909.91
ELECTRICAL WORKS | Main BOQ | GIS - 220KV | 1.Main | 1.Main.3 | SERVICES | Custom Duties 220 kV GIS switchgear |  | USD
ELECTRICAL WORKS | Main BOQ | 175 MVA Transformer | 2.Main | 2.Main | # | 175 MVA Power Transformers |  | USD | 2564331.84
ELECTRICAL WORKS | Main BOQ | 175 MVA Transformer | 2.Main | 2.Main.1 | MATERIAL | Supply 175 MVA Power Transformers |  | USD | 2564331.84
ELECTRICAL WORKS | Main BOQ | 175 MVA Transformer | 2.Main | 2.Main.3 | SERVICES | Custom Duties 175 MVA Power Transformers |  | USD
MECHANICAL WORKS | Main BOQ | Fire Fighting System | 2/1.Main | 2/1.Main | # | Fire Fighting System |  | EGP | 10142936.6
MECHANICAL WORKS | Main BOQ | Fire Fighting System | 2/1.Main | 2/1.Main.1 | MATERIAL | Supply Fire Fighting System |  | EGP | 2223324
MECHANICAL WORKS | Main BOQ | Fire Fighting System | 2/1.Main | 2/1.Main.2 | S/C | Installation Fire Fighting System |  | EGP | 7919612.6
MECHANICAL WORKS | Main BOQ | Fire Fighting System | 2/1.Main | 2/1.Main.3 | SERVICES | Custom Duties Fire Fighting System |  | EGP
ELECTRICAL WORKS | Main BOQ | GIS - 66KV | 3.Main | 3.Main | # | GIS - 66KV |  | USD | 1235080.04
ELECTRICAL WORKS | Main BOQ | GIS - 66KV | 3.Main | 3.Main.1 | MATERIAL | Supply GIS - 66KV |  | USD | 1235080.04
ELECTRICAL WORKS | Main BOQ | GIS - 66KV | 3.Main | 3.Main.3 | SERVICES | Custom Duties GIS - 66KV |  | USD
ELECTRICAL WORKS | Main BOQ | 40 MVA Transformer | 4.Main | 4.Main | # | 40 MVA Transformer |  | EGP | 52848525.22
ELECTRICAL WORKS | Main BOQ | 40 MVA Transformer | 4.Main | 4.Main.1 | MATERIAL | Supply 40 MVA Transformer |  | EGP | 52848525.22
ELECTRICAL WORKS | Main BOQ | 40 MVA Transformer | 4.Main | 4.Main.3 | SERVICES | Custom Duties 40 MVA Transformer |  | EGP
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.1 | 5.1 | # | Single phase AIS 220 kV CCVT (220/√3:0.1/√3:0.1/√3/0.1/√3kV) for outgoing OHTLs as specified. |  | USD | 80797.95
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.1 | 5.1.1 | MATERIAL | Supply Single phase AIS 220 kV CCVT |  | USD | 80797.95
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.1 | 5.1.3 | SERVICES | Custom Duties Single phase AIS 220 kV CCVT |  | USD
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.2 | 5.2 | # | Single phase AIS 214 kV, 10kJ/kV, 20kA surge arresters for 220 kV outgoing OHTLs & 220 kV side of 175 MVA Power Transformers as specified. |  | EUR | 42872.61
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.2 | 5.2.1 | MATERIAL | Supply Single phase AIS 214 kV, 10kJ/ |  | EUR | 42872.61
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.2 | 5.2.3 | SERVICES | Custom Duties Single phase AIS 214 kV, 10kJ/ |  | EUR
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.3 | 5.3 | # | Single phase 220 kV wave trap for outgoing OHTLs as specified. |  | USD | 44172
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.3 | 5.3.1 | MATERIAL | Supply Single phase 220 kV wave trap |  | USD | 44172
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.3 | 5.3.3 | SERVICES | Custom Duties Single phase 220 kV wave trap |  | USD
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.4 | 5.4 | # | Single phase AIS disconnector switch 1600 A for the neutral point of 220 kV side of 175 MVA power transformers as specified. |  | USD | 12220.92
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.4 | 5.4.1 | MATERIAL | Supply Single phase AIS disconnector |  | USD | 12220.92
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.4 | 5.4.3 | SERVICES | Custom Duties Single phase AIS disconnector |  | USD
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.5 | 5.5 | # | Single phase AIS 108kV, 10kJ/kV, 20kA surge arresters for the 220 kV neutral point of 175 MVA Power Transformers as specified. |  | EUR | 5497.21
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.5 | 5.5.1 | MATERIAL | Supply Single phase AIS 108kV, 10kJ/k |  | EUR | 5497.21
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.5 | 5.5.3 | SERVICES | Custom Duties Single phase AIS 108kV, 10kJ/k |  | EUR
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.6 | 5.6 | # | Single phase current transformer (400-800 /1/1 A) for the 220 kV neutral point of 175 MVA Power Transformers as specified. |  | USD | 14135.04
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.6 | 5.6.1 | MATERIAL | Supply Single phase current transform |  | USD | 14135.04
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.6 | 5.6.3 | SERVICES | Custom Duties Single phase current transform |  | USD
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.7 | 5.7 | # | Single phase AIS 60 kV, 4.5kJ/kV, 10kA surge arresters for 66 kV side of 175 MVA & 40 MVA Power Transformers as specified. |  | EUR | 12700.19
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.7 | 5.7.1 | MATERIAL | Supply Single phase AIS 60 kV, 4.5kJ/ |  | EUR | 12700.19
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.7 | 5.7.3 | SERVICES | Custom Duties Single phase AIS 60 kV, 4.5kJ/ |  | EUR
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.8 | 5.8 | # | Single phase AIS disconnector switch 2000 A for the neutral point of 66 kV side of 175 MVA power transformers as specified. |  | USD | 5595.12
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.8 | 5.8.1 | MATERIAL | Supply Single phase AIS disconnector |  | USD | 5595.12
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.8 | 5.8.3 | SERVICES | Custom Duties Single phase AIS disconnector |  | USD
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.9 | 5.9 | # | Single phase AIS 30kV, 4.5kJ/kV, 10kA surge arresters for the 66 kV side neutral point of 175 MVA Power Transformers as specified. |  | EUR | 2513.39
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.9 | 5.9.1 | MATERIAL | Supply Single phase AIS 30kV, 4.5kJ/k |  | EUR | 2513.39
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.9 | 5.9.3 | SERVICES | Custom Duties Single phase AIS 30kV, 4.5kJ/k |  | EUR
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.01 | 5.01 | # | Single phase current transformer (1000-2000 /1/1 A) for the 66 kV neutral point of 175 MVA Power Transformers as specified. |  | USD | 5595.12
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.01 | 5.01.1 | MATERIAL | Supply Single phase current transform |  | USD | 5595.12
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.01 | 5.01.3 | SERVICES | Custom Duties Single phase current transform |  | USD
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.11 | 5.11 | # | Single phase AIS 12kV, 2.5kJ/kV, 10kA surge arresters for the 11 kVwindings of 175 MVA & 40 MVA Power Transformers as specified. |  | EUR | 10173.55
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.11 | 5.11.1 | MATERIAL | Supply Single phase AIS 12kV, 2.5kJ/k |  | EUR | 10173.55
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.11 | 5.11.3 | SERVICES | Custom Duties Single phase AIS 12kV, 2.5kJ/k |  | EUR
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.12 | 5.12 | # | Single phase current transformer (1500-3000/1/1A) for the neutral point at 11 kV side of 40 MVA Power Transformers as specified. |  | EGP | 184723.51
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.12 | 5.12.1 | MATERIAL | Supply Single phase current transform |  | EGP | 184723.51
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.12 | 5.12.3 | SERVICES | Custom Duties Single phase current transform |  | EGP
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.13 | 5.13 | # | Single phase disconnector switch (2500A) at 11 kV neutral points as specified. |  | EGP | 103372.23
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.13 | 5.13.1 | MATERIAL | Supply Single phase disconnector switch |  | EGP | 103372.23
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.13 | 5.13.3 | SERVICES | Custom Duties Single phase disconnector switch |  | EGP
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.14 | 5.14 | # | Neutral Earthing Resistor (10 Ω, 650A, 30sec) as specified. |  | EGP | 506061.05
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.14 | 5.14.1 | MATERIAL | Supply Neutral Earthing Resistor |  | EGP | 506061.05
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.14 | 5.14.3 | SERVICES | Custom Duties Neutral Earthing Resistor |  | EGP
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.15 | 5.15 | # | Single phase AIS 9kV, 2.5kJ/kV, 10kA surge arresters at 11 kV neutral points as specified. |  | EGP | 10729.95
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.15 | 5.15.1 | MATERIAL | Supply Single phase AIS 9kV, 2.5kJ/kV |  | EGP | 10729.95
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.15 | 5.15.3 | SERVICES | Custom Duties Single phase AIS 9kV, 2.5kJ/kV |  | EGP
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.16 | 5.16 | # | Copper connections (conductors), hardware fittings and accessories to connect outdoor equipment (220 kV, 66 kV, 11 kV & neutral points) to GIS bays and transformer bays with all accessories as specified. |  | EGP | 2196416.18
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.16 | 5.16.1 | MATERIAL | Supply Copper connections (conductors) |  | EGP | 2196416.18
ELECTRICAL WORKS | Main BOQ | Outdoor Equipment | 5.16 | 5.16.3 | SERVICES | Custom Duties Copper connections (conductors) |  | EGP
ELECTRICAL WORKS | Main BOQ | MV switchgear | 6.Main | 6.Main | # | MV switchgear |  | EGP | 27789175.75
ELECTRICAL WORKS | Main BOQ | MV switchgear | 6.Main | 6.Main.1 | MATERIAL | Supply MV switchgear |  | EGP | 27789175.75
ELECTRICAL WORKS | Main BOQ | MV switchgear | 6.Main | 6.Main.3 | SERVICES | Custom Duties MV switchgear |  | EGP
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.1 | 7.1 | # | 500 kVA auxiliary transformer 11 0.4 kV, as specified. |  | EGP | 1090510.97
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.1 | 7.1.1 | MATERIAL | Supply 500 kVA auxiliary transformer |  | EGP | 1090510.97
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.1 | 7.1.3 | SERVICES | Custom Duties 500 kVA auxiliary transformer |  | EGP
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.2 | 7.2 | # | L.V. 0.4 kV AC main distribution board and sub distribution panels complete with switches, measuring devices as specified . |  | EGP | 4173529.55
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.2 | 7.2.1 | MATERIAL | Supply L.V. 0.4 kV AC main distribution board |  | EGP | 4173529.55
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.2 | 7.2.3 | SERVICES | Custom Duties L.V. 0.4 kV AC main distribution board |  | EGP
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.3.1 | 7.3.1 | # | Accumulator battery complete |  | EGP | 4417200
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.3.1 | 7.3.1.1 | MATERIAL | Supply Accumulator battery complete |  | EGP | 4417200
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.3.1 | 7.3.1.3 | SERVICES | Custom Duties Accumulator battery complete |  | EGP
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.3.2 | 7.3.2 | # | Charger rectifier set complete with it s dropper diodes, CB …etc. |  | EGP | 574236
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.3.2 | 7.3.2.1 | MATERIAL | Supply Charger rectifier set complete |  | EGP | 574236
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.3.2 | 7.3.2.3 | SERVICES | Custom Duties Charger rectifier set complete |  | EGP
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.4 | 7.4 | # | 11 kV, 9 MVAr Capacitor bank units as specified.. |  | USD | 217179
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.4 | 7.4.1 | MATERIAL | Supply 11 kV, 9 MVAr Capacitor bank |  | USD | 217179
ELECTRICAL WORKS | Main BOQ | Auxiliary Power Equipment | 7.4 | 7.4.3 | SERVICES | Custom Duties 11 kV, 9 MVAr Capacitor bank |  | USD
ELECTRICAL WORKS | Main BOQ | Substation Control System (SCS) | 8.Main | 8.Main | # | Substation Control System (SCS) |  | USD | 673100.4
ELECTRICAL WORKS | Main BOQ | Substation Control System (SCS) | 8.Main | 8.Main.1 | MATERIAL | Supply Substation Control System (SCS) |  | USD | 673100.4
ELECTRICAL WORKS | Main BOQ | Substation Control System (SCS) | 8.Main | 8.Main.3 | SERVICES | Custom Duties Substation Control System (SCS) |  | USD
ELECTRICAL WORKS | Main BOQ | Cables | 9.1 | 9.1 | # | Three phase single core XLPE 38 -66 72.5 kV copper cables with cross section not less than 2×1C×1200 mm² - ph to connect the 66 kV sides of the two 175 MVA 220 -66 -11 kV transformers to 66 kV GIS switchgear |  | EGP | 2913629.29
ELECTRICAL WORKS | Main BOQ | Cables | 9.1 | 9.1.1 | MATERIAL | Supply Three phase single core XLPE 3 |  | EGP | 2913629.29
ELECTRICAL WORKS | Main BOQ | Cables | 9.1 | 9.1.3 | SERVICES | Custom Duties Three phase single core XLPE 3 |  | EGP
ELECTRICAL WORKS | Main BOQ | Cables | 9.2 | 9.2 | # | 72.5 kV single core cable sealing end outdoor porcelain type for the above mentioned cables |  | EGP | 1899396
ELECTRICAL WORKS | Main BOQ | Cables | 9.2 | 9.2.1 | MATERIAL | Supply 72.5 kV single core cable sealing end |  | EGP | 1501848
ELECTRICAL WORKS | Main BOQ | Cables | 9.2 | 9.2.2 | S/C | Installation 72.5 kV single core cable sealing end |  | EGP | 397548
ELECTRICAL WORKS | Main BOQ | Cables | 9.2 | 9.2.3 | SERVICES | Custom Duties 72.5 kV single core cable sealing end |  | EGP
ELECTRICAL WORKS | Main BOQ | Cables | 9.3 | 9.3 | # | 72.5 kV single core cable sealing end XLPE -SF6 type for the above mentioned cables |  | EGP | 2250071.91
ELECTRICAL WORKS | Main BOQ | Cables | 9.3 | 9.3.1 | MATERIAL | Supply 72.5 kV single core cable sealing end |  | EGP | 1852523.91
ELECTRICAL WORKS | Main BOQ | Cables | 9.3 | 9.3.2 | S/C | Installation 72.5 kV single core cable sealing end |  | EGP | 397548
ELECTRICAL WORKS | Main BOQ | Cables | 9.3 | 9.3.3 | SERVICES | Custom Duties 72.5 kV single core cable sealing end |  | EGP
ELECTRICAL WORKS | Main BOQ | Cables | 9.4 | 9.4 | # | Three phase single core XLPE 12 -20 24 kV copper cables with cross section not less than 4×1C×800 mm² |  | EGP | 4801955.79
ELECTRICAL WORKS | Main BOQ | Cables | 9.4 | 9.4.1 | MATERIAL | Supply Three phase single core XLPE 1 |  | EGP | 4801955.79
ELECTRICAL WORKS | Main BOQ | Cables | 9.4 | 9.4.3 | SERVICES | Custom Duties Three phase single core XLPE 1 |  | EGP
ELECTRICAL WORKS | Main BOQ | Cables | 9.5 | 9.5 | # | Single core cable sealing end outdoor Heat Shrinkable type for the above mentioned cables |  | EGP | 80516.72
ELECTRICAL WORKS | Main BOQ | Cables | 9.5 | 9.5.1 | MATERIAL | Supply Single core cable sealing end |  | EGP | 80516.72
ELECTRICAL WORKS | Main BOQ | Cables | 9.5 | 9.5.3 | SERVICES | Custom Duties Single core cable sealing end |  | EGP
ELECTRICAL WORKS | Main BOQ | Cables | 9.6 | 9.6 | # | Single core cable sealing end indoor Heat Shrinkable type for the above mentioned cables |  | EGP | 133470.12
ELECTRICAL WORKS | Main BOQ | Cables | 9.6 | 9.6.1 | MATERIAL | Supply Single core cable sealing end |  | EGP | 133470.12
ELECTRICAL WORKS | Main BOQ | Cables | 9.6 | 9.6.3 | SERVICES | Custom Duties Single core cable sealing end |  | EGP
ELECTRICAL WORKS | Main BOQ | Cables | 9.7 | 9.7 | # | Three phase XLPE 12 -20 24 kV copper cables with cross section not less than 3C×240 mm² - ph to connect the 11 kV sides of the two auxiliary transformers to 11 kV MV switchgear |  | EGP | 248857.69
ELECTRICAL WORKS | Main BOQ | Cables | 9.7 | 9.7.1 | MATERIAL | Supply Three phase XLPE 12 -20 24 kV |  | EGP | 248857.69
ELECTRICAL WORKS | Main BOQ | Cables | 9.7 | 9.7.3 | SERVICES | Custom Duties Three phase XLPE 12 -20 24 kV |  | EGP
ELECTRICAL WORKS | Main BOQ | Cables | 9.8 | 9.8 | # | Three phase cable sealing end indoor Heat Shrinkable type for the above mentioned cables |  | EGP | 14014.3
ELECTRICAL WORKS | Main BOQ | Cables | 9.8 | 9.8.1 | MATERIAL | Supply Three phase cable sealing end |  | EGP | 14014.3
ELECTRICAL WORKS | Main BOQ | Cables | 9.8 | 9.8.3 | SERVICES | Custom Duties Three phase cable sealing end |  | EGP
ELECTRICAL WORKS | Main BOQ | Cables | 9.9 | 9.9 | # | Three phase single core XLPE 12 -20 24 kV copper cables with cross section not less than 1x1C×630 mm² - ph to connect the 11 kV MV switchgear to the capacitor banks |  | EGP | 1546020
ELECTRICAL WORKS | Main BOQ | Cables | 9.9 | 9.9.1 | MATERIAL | Supply Three phase single core XLPE 1 |  | EGP | 1546020
ELECTRICAL WORKS | Main BOQ | Cables | 9.9 | 9.9.3 | SERVICES | Custom Duties Three phase single core XLPE 1 |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Cables | 9.01 | 9.01 | # | Single core cable sealing end outdoor (Heat Shrinkable) type for the above mentioned cables in item 9.9 |  | EGP | 15813.58
ELECTRICAL WORKS | Main BOQ | Cables | 9.01 | 9.01.1 | MATERIAL | Supply Single core cable sealing end |  | EGP | 15813.58
ELECTRICAL WORKS | Main BOQ | Cables | 9.01 | 9.01.3 | SERVICES | Custom Duties Single core cable sealing end |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Cables | 9.11 | 9.11 | # | Single core cable sealing end indoor (Heat Shrinkable) type for the above mentioned cables in item 9.9 |  | EGP | 12368.16
ELECTRICAL WORKS | Main BOQ | Cables | 9.11 | 9.11.1 | MATERIAL | Supply Single core cable sealing end |  | EGP | 12368.16
ELECTRICAL WORKS | Main BOQ | Cables | 9.11 | 9.11.3 | SERVICES | Custom Duties Single core cable sealing end |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Cables | 9.12 | 9.12 | # | Any additional equipment and materials such as L.V cables, Control cables, etc. required for the whole S -S and at remote end substations. |  | EGP | 22197017.49
ELECTRICAL WORKS | Main BOQ | Cables | 9.12 | 9.12.1 | MATERIAL | Supply Any additional equipment and materials such as L.V cables, Control cables, etc. |  | EGP | 22197017.49
ELECTRICAL WORKS | Main BOQ | Cables | 9.12 | 9.12.3 | SERVICES | Custom Duties Any additional equipment and materials such as L.V cables, Control cables, etc. |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10.Main | 10.Main | # | Telecommunication System |  | USD | 184050
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10.Main | 10.Main.USD | MATERIAL | Supply Telecommunication System USD |  | USD | 184050
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10.Main | 10.Main.3 | SERVICES | Custom Duties Telecommunication System |  | USD | 0
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10.Main | 10.Main | # | Telecommunication System |  | EUR | 706752
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10.Main | 10.Main.EUR | MATERIAL | Supply Telecommunication System EUR |  | EUR | 706752
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10.Main | 10.Main.3 | SERVICES | Custom Duties Telecommunication System |  | EUR | 0
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10/1.Main | 10/1.Main | # | 48 V DC System |  | EGP | 228222
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10/1.Main | 10/1.Main.1 | MATERIAL | Supply 48 V DC System |  | EGP | 228222
ELECTRICAL WORKS | Main BOQ | Telecommunication System | 10/1.Main | 10/1.Main.3 | SERVICES | Custom Duties 48 V DC System |  | EGP | 0
CIVIL WORKS | Main BOQ | Civil Works | 11.Main | 11.Main | # | Civil Works Breakdown |  | EGP | 136197000
CIVIL WORKS | Main BOQ | Civil Works | 11.Main | 11.Main.1 | MATERIAL | Supply Civil Works Breakdown |  | EGP | 0
CIVIL WORKS | Main BOQ | Civil Works | 11.Main | 11.Main.2 | S/C | Installation Civil Works Breakdown |  | EGP | 136197000
CIVIL WORKS | Main BOQ | Civil Works | 11.Main | 11.Main.3 | SERVICES | Custom Duties Civil Works Breakdown |  | EGP | 0
CIVIL WORKS | Main BOQ | Structural steel works | 11.2 | 11.2 | # | Foundations and steel structure for the outdoor equipment and receiving gantries |  | EGP | 3024677.7
CIVIL WORKS | Main BOQ | Structural steel works | 11.2 | 11.2.1 | MATERIAL | Supply Foundations and steel structur |  | EGP | 3024677.7
CIVIL WORKS | Main BOQ | Structural steel works | 11.2 | 11.2.3 | SERVICES | Custom Duties Foundations and steel structur |  | EGP | 0
MECHANICAL WORKS | Main BOQ | Overhead crane | 11.5 | 11.5 | # | Overhead crane for 220 kV GIS building |  | EGP | 2944800
MECHANICAL WORKS | Main BOQ | Overhead crane | 11.5 | 11.5.1 | MATERIAL | Supply Overhead crane for 220 kV GIS |  | EGP | 2944800
MECHANICAL WORKS | Main BOQ | Overhead crane | 11.5 | 11.5.3 | SERVICES | Custom Duties Overhead crane for 220 kV GIS |  | EGP | 0
CIVIL WORKS | Main BOQ | Cable Trenches and Ducts | 11.14 | 11.14 | # | External Cable Trenches and Ducts for the power and control cables including cable trenches and ducts for M.V cables up to the boundary wall including the required extension-s for the cable trenches |  | EGP | 2944800
CIVIL WORKS | Main BOQ | Cable Trenches and Ducts | 11.14 | 11.14.1 | MATERIAL | Supply External Cable Trenches and Du |  | EGP | 2944800
CIVIL WORKS | Main BOQ | Cable Trenches and Ducts | 11.14 | 11.14.3 | SERVICES | Custom Duties External Cable Trenches and Du |  | EGP | 0
MECHANICAL WORKS | Main BOQ | Fire Hydrant System | 11.23 | 11.23 | # | Firefighting Line System Fire Hydrant System including pumps room |  | EGP | 4984442.1
MECHANICAL WORKS | Main BOQ | Fire Hydrant System | 11.23 | 11.23.1 | MATERIAL | Supply Firefighting Line System Fire |  | EGP | 0
MECHANICAL WORKS | Main BOQ | Fire Hydrant System | 11.23 | 11.23.2 | S/C | Installation Firefighting Line System Fire |  | EGP | 4984442.1
MECHANICAL WORKS | Main BOQ | Fire Hydrant System | 11.23 | 11.23.3 | SERVICES | Custom Duties Firefighting Line System Fire |  | EGP | 0
MECHANICAL WORKS | Main BOQ | Sewage System | 11.24 | 11.24 | # | Sewage System |  | EGP | 983399.03
MECHANICAL WORKS | Main BOQ | Sewage System | 11.24 | 11.24.1 | MATERIAL | Supply Sewage System |  | EGP | 983399.03
MECHANICAL WORKS | Main BOQ | Sewage System | 11.24 | 11.24.3 | SERVICES | Custom Duties Sewage System |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Earthing and Lightning System | 11.26 | 11.26 | # | Earthing and Lightning System for the substation |  | EGP | 18771333.12
ELECTRICAL WORKS | Main BOQ | Earthing and Lightning System | 11.26 | 11.26.1 | MATERIAL | Supply Earthing and Lightning System |  | EGP | 18771333.12
ELECTRICAL WORKS | Main BOQ | Earthing and Lightning System | 11.26 | 11.26.3 | SERVICES | Custom Duties Earthing and Lightning System |  | EGP | 0
MECHANICAL WORKS | Main BOQ | Fire Alarm and Fire Detection System | 11.27 | 11.27 | # | Fire Alarm and Fire Detection System |  | EGP | 820458.09
MECHANICAL WORKS | Main BOQ | Fire Alarm and Fire Detection System | 11.27 | 11.27.1 | MATERIAL | Supply Fire Alarm and Fire Detection |  | EGP | 294480
MECHANICAL WORKS | Main BOQ | Fire Alarm and Fire Detection System | 11.27 | 11.27.2 | S/C | Installation Fire Alarm and Fire Detection |  | EGP | 525978.09
MECHANICAL WORKS | Main BOQ | Fire Alarm and Fire Detection System | 11.27 | 11.27.3 | SERVICES | Custom Duties Fire Alarm and Fire Detection |  | EGP | 0
MECHANICAL WORKS | Main BOQ | HVAC | 11.28 | 11.28 | # | Ventilation and Air-Conditioning System |  | EGP | 5587756.53
MECHANICAL WORKS | Main BOQ | HVAC | 11.28 | 11.28.1 | MATERIAL | Supply Ventilation and Air-Conditioning System |  | EGP | 0
MECHANICAL WORKS | Main BOQ | HVAC | 11.28 | 11.28.2 | S/C | Installation Ventilation and Air-Conditioning System |  | EGP | 5587756.53
MECHANICAL WORKS | Main BOQ | HVAC | 11.28 | 11.28.3 | SERVICES | Custom Duties Ventilation and Air-Conditioning System |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Security System | 11.29 | 11.29 | # | Substation Security System |  | EGP | 1104300
ELECTRICAL WORKS | Main BOQ | Security System | 11.29 | 11.29.1 | MATERIAL | Supply Substation Security System |  | EGP | 1104300
ELECTRICAL WORKS | Main BOQ | Security System | 11.29 | 11.29.3 | SERVICES | Custom Duties Substation Security System |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Lighting | 11.03 | 11.03 | # | Indoor and Outdoor Lighting |  | EGP | 3681000
ELECTRICAL WORKS | Main BOQ | Lighting | 11.03 | 11.03.1 | MATERIAL | Supply Indoor and Outdoor Lighting |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Lighting | 11.03 | 11.03.2 | S/C | Installation Indoor and Outdoor Lighting |  | EGP | 3681000
ELECTRICAL WORKS | Main BOQ | Lighting | 11.03 | 11.03.3 | SERVICES | Custom Duties Indoor and Outdoor Lighting |  | EGP | 0
ELECTRICAL WORKS | Main BOQ | Installing, start up testing and commissioning | 13.Main | 13.Main | # | Installing, start up testing and commissioning |  | EGP | 14695491.67
ELECTRICAL WORKS | Main BOQ | Installing, start up testing and commissioning | 13.Main | 13.Main.2 | S/C | All Materials Transportation |  | EGP | 7431823.64
ELECTRICAL WORKS | Main BOQ | Installing, start up testing and commissioning | 13.Main | EQU.1 | EQ | Supply Direct Equipment for Installing, start up testing and commissioning |  | EGP | 3650528.68
ELECTRICAL WORKS | Main BOQ | Installing, start up testing and commissioning | 13.Main | 13.Main.3 | LABOUR | Direct Manpower For Installing, start up testing and commissioning |  | EGP | 3613139.35
ELECTRICAL WORKS | Special Tools | Special Tools | 15.4 | 15.4 | # | Complete set of special tools for transformer maintenance, disassemble/assemble and overhauling of OLTC |  | EGP | 175326.03
ELECTRICAL WORKS | Special Tools | Special Tools | 15.4 | 15.4.1 | MATERIAL | Supply Complete set of special tools |  | EGP | 175326.03
ELECTRICAL WORKS | Special Tools | Special Tools | 15.4 | 15.4.3 | SERVICES | Custom Duties Complete set of special tools |  | EGP | 0
ELECTRICAL WORKS | Special Tools | Special Tools | 15.6 | 15.6 | # | Winding and oil indication calibration device |  | USD | 7362
ELECTRICAL WORKS | Special Tools | Special Tools | 15.6 | 15.6.1 | MATERIAL | Supply Winding and oil indication cal |  | USD | 7362
ELECTRICAL WORKS | Special Tools | Special Tools | 15.6 | 15.6.3 | SERVICES | Custom Duties Winding and oil indication cal |  | USD | 0
ELECTRICAL WORKS | Special Tools | Special Tools | 15.7 | 15.7 | # | 12000 L/Hour oil purification plant, complete with hoses, filters, receivers, paper, vacuum system, etc. |  | EUR | 24145.98
ELECTRICAL WORKS | Special Tools | Special Tools | 15.7 | 15.7.1 | MATERIAL | Supply 12000 L/Hour oil purification |  | EUR | 24145.98
ELECTRICAL WORKS | Special Tools | Special Tools | 15.7 | 15.7.3 | SERVICES | Custom Duties 12000 L/Hour oil purification |  | EUR | 0
ELECTRICAL WORKS | Special Tools | Special Tools | 15.8 | 15.8 | # | Complete set of battery maintenance and tests. |  | EGP | 175326.03
ELECTRICAL WORKS | Special Tools | Special Tools | 15.8 | 15.8.1 | MATERIAL | Supply Complete set of battery mainte |  | EGP | 175326.03
ELECTRICAL WORKS | Special Tools | Special Tools | 15.8 | 15.8.3 | SERVICES | Custom Duties Complete set of battery mainte |  | EGP | 0
ELECTRICAL WORKS | Special Tools | Special Tools | 15.9.1 | 15.9.1 | # | Grounding jumpers (clamps, ferrules, chain, etc.). |  | EGP | 175326.03
ELECTRICAL WORKS | Special Tools | Special Tools | 15.9.1 | 15.9.1.1 | MATERIAL | Supply Grounding jumpers (clamps, fer |  | EGP | 175326.03
ELECTRICAL WORKS | Special Tools | Special Tools | 15.9.1 | 15.9.1.3 | SERVICES | Custom Duties Grounding jumpers (clamps, fer |  | EGP | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.1 | 16.1 | # | Portable set complete with all accessories sensors and adaptors for detection, measuring recording and analysis the partial discharges in GIS equipment using the built in partial discharge sensors and the external sensors. |  | USD | 13969.39
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.1 | 16.1.1 | MATERIAL | Supply Portable set complete with all |  | USD | 13969.39
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.1 | 16.1.3 | SERVICES | Custom Duties Portable set complete with all |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.2 | 16.2 | # | Portable set complete with all accessories of ultrasonic equipment for detecting, measuring and locating of partial discharges at high voltage switchgear and equipment as specified. |  | EUR | 5056.75
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.2 | 16.2.1 | MATERIAL | Supply Portable set complete with all |  | EUR | 5056.75
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.2 | 16.2.3 | SERVICES | Custom Duties Portable set complete with all |  | EUR | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.3 | 16.3 | # | Complete set of circuit breaker analyzer with motion analyzer and all accessories as specified in Annex (2) |  | USD | 9343.85
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.3 | 16.3.1 | MATERIAL | Supply Complete set of circuit breake |  | USD | 9343.85
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.3 | 16.3.3 | SERVICES | Custom Duties Complete set of circuit breake |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.4 | 16.4 | # | SF6 decomposition product measuring device |  | USD | 6846.66
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.4 | 16.4.1 | MATERIAL | Supply SF6 decomposition product meas |  | USD | 6846.66
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.4 | 16.4.3 | SERVICES | Custom Duties SF6 decomposition product meas |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.5 | 16.5 | # | Dew point measuring device. |  | USD | 4127.14
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.5 | 16.5.1 | MATERIAL | Supply Dew point measuring device. |  | USD | 4127.14
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.5 | 16.5.3 | SERVICES | Custom Duties Dew point measuring device. |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.6 | 16.6 | # | Megger (5000 V) with battery for insulation testing complete with all accessories. |  | USD | 3165.66
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.6 | 16.6.1 | MATERIAL | Supply Megger (5000 V) with battery f |  | USD | 3165.66
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.6 | 16.6.3 | SERVICES | Custom Duties Megger (5000 V) with battery f |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.7 | 16.7 | # | Complete set of circuit breaker analyzer with motion analyzer and all accessories as specified. |  | USD | 9343.85
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.7 | 16.7.1 | MATERIAL | Supply Complete set of circuit breake |  | USD | 9343.85
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.7 | 16.7.3 | SERVICES | Custom Duties Complete set of circuit breake |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.4 | 16.8 | # | SF6 decomposition product measuring device |  | USD | 6846.66
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.4 | 16.4.1 | MATERIAL | Supply SF6 decomposition product meas |  | USD | 6846.66
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.4 | 16.4.3 | SERVICES | Custom Duties SF6 decomposition product meas |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.5 | 16.9 | # | Dew point measuring device. |  | USD | 4127.14
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.5 | 16.5.1 | MATERIAL | Supply Dew point measuring device. |  | USD | 4127.14
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.5 | 16.5.3 | SERVICES | Custom Duties Dew point measuring device. |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.01 | 16.01 | # | Insulation tester (motorized megger with battery) (250-600-1000-2000-2500 and 5000 V by selector) |  | USD | 3165.66
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.01 | 16.01.1 | MATERIAL | Supply Insulation tester (motorized m |  | USD | 3165.66
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.01 | 16.01.3 | SERVICES | Custom Duties Insulation tester (motorized m |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.11 | 16.11 | # | Phase rotation checker |  | USD | 257.67
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.11 | 16.11.1 | MATERIAL | Supply Phase rotation checker |  | USD | 257.67
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.11 | 16.11.3 | SERVICES | Custom Duties Phase rotation checker |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.12 | 16.12 | # | D.C earth testers. |  | USD | 7362
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.12 | 16.12.1 | MATERIAL | Supply D.C earth testers. |  | USD | 7362
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.12 | 16.12.3 | SERVICES | Custom Duties D.C earth testers. |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.13 | 16.13 | # | One computer aided test set. |  | USD | 38282.4
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.13 | 16.13.1 | MATERIAL | Supply One computer aided test set. |  | USD | 38282.4
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.13 | 16.13.3 | SERVICES | Custom Duties One computer aided test set. |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.14 | 16.14 | # | Clip PF meter |  | USD | 441.72
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.14 | 16.14.1 | MATERIAL | Supply Clip PF meter |  | USD | 441.72
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.14 | 16.14.3 | SERVICES | Custom Duties Clip PF meter |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.15 | 16.15 | # | Micro-ohm meter. |  | USD | 6625.8
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.15 | 16.15.1 | MATERIAL | Supply Micro-ohm meter. |  | USD | 6625.8
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.15 | 16.15.3 | SERVICES | Custom Duties Micro-ohm meter. |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.16 | 16.16 | # | Earth leakage indicator clip-on type. |  | USD | 3681
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.16 | 16.16.1 | MATERIAL | Supply Earth leakage indicator clip-o |  | USD | 3681
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.16 | 16.16.3 | SERVICES | Custom Duties Earth leakage indicator clip-o |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.17 | 16.17 | # | Primary current injection test sets (0-3000A) with its accessories (cables, clamps and meters) |  | USD | 15460.2
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.17 | 16.17.1 | MATERIAL | Supply Primary current injection test |  | USD | 15460.2
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.17 | 16.17.3 | SERVICES | Custom Duties Primary current injection test |  | USD | 0
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.18 | 16.18 | # | Transformer oil analysis tester |  | USD | 15460.2
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.18 | 16.18.1 | MATERIAL | Supply Transformer oil analysis teste |  | USD | 15460.2
ELECTRICAL WORKS | Testing Equipment | Testing Equipment | 16.18 | 16.18.3 | SERVICES | Custom Duties Transformer oil analysis teste |  | USD | 0
ELECTRICAL WORKS | Main BOQ | Off-Shore training | 18 | 18 | # | Lump Sum Price for Off-Shore training of Owner`s personnel in accordance with Tender Document. |  | EGP | 1188963
ELECTRICAL WORKS | Main BOQ | Off-Shore training | 18 | SER.3.1 | SERVICES | Supply Lump Sum Price for Off-Shore t |  | EGP | 1188963
ELECTRICAL WORKS | Main BOQ | Off-Shore training | 18 | 18 | # | Lump Sum Price for Off-Shore training of Owner`s personnel in accordance with Tender Document. |  | USD | 86496.14
ELECTRICAL WORKS | Main BOQ | Off-Shore training | 18 | SER.3.2 | SERVICES | Supply Lump Sum Price for Off-Shore |  | USD | 86496.14
ELECTRICAL WORKS | Main BOQ | Engineering | SER.1 | SER.1 | # | Engineering |  | EGP | 1472400
ELECTRICAL WORKS | Main BOQ | Engineering | SER.1 | SER.1.1 | SERVICES | Engineering |  | EGP | 1472400
ELECTRICAL WORKS | Main BOQ | Equipment FAT | SER.2 | SER.2 | # | Equipment FAT |  | EGP | 1188963
ELECTRICAL WORKS | Main BOQ | Equipment FAT | SER.2 | SER.2.1 | SERVICES | Equipment FAT (EGP) |  | EGP | 1188963
ELECTRICAL WORKS | Main BOQ | Equipment FAT | SER.2 | SER.2 | # | Equipment FAT |  | USD | 77146.4
ELECTRICAL WORKS | Main BOQ | Equipment FAT | SER.2 | SER.2.2 | SERVICES | Equipment FAT (USD) |  | USD | 77146.4
Note on G7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Supply With Spare Parts and any Special Tools
Note on G71: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: PO66580 = 651,000 Dollar Rate = 47.7266